## SWORD-A BOM
1. Core Hardware
| Item | Qty | Model/Part # | Big Picture / Justification | Approx. Price
TRUE | Sidekiq X4 PDK Bundle | 1 | ES024-101 | Primary Ingest: Includes X4 card, TB3 chassis, FPGA carrier, and Dev Laptop. | 51544 | Quote #342624
TRUE | Sidekiq Maintenance | 1 | ES024-599-1 | Support: 1 additional year of maintenance/support (2 years total). | 4779 | Quote #342624
TRUE | Crystal 3U GPU Server | 2 | CMS-00891 (Dual A40) | DSP/ML Engine: Rugged hosts for NVIDIA A40s. | 150000 | Tab 2 for breakout, added some buffer from recommended specs due to IT costs going up rapidly
TRUE | USRP N310 | 1 | Ettus 785067-01 | High-Fidelity Sensor: 4-channel phase-coherent SDR. | 20826 | Would benefit from multiple N310s
TRUE | Ruckus ICX Switch | 1 | ICX7850-48F-E2 | The Backplane: 40/100GbE data mover. | 17689
TRUE | Keysight MXG | 1 | N5182A-506 | Validation: Vector Signal Generator for calibration. Refurbished/Certified. | 12500 | Currently have 2. Don't know status
TRUE | Brandywine NFS220 | 1 | 95000001 | Grandmaster Clock: Ultra-stable 10MHz/1PPS. | 7500
TRUE | USRP B210 | 1 | Ettus B210 | Local Monitoring: Portable SDR for bench testing. | 1600 | Would benefit from multiple B210s
TRUE | SeaLevel Serial Card | 1 | 7804EC | System Control: Interface for external sensors/rotors. | 487
| Shipping & Handling | 1 | Quote #342624 | Procurement logistics for Sidekiq PDK. | 284
| SUBTOTAL SECTION 1 |  |  |  | 267209
2. Timing & Power
| Item | Qty | Description | Justification | Approx. Price
TRUE | GPS Timing Antenna | 1 | PCTEL GPS-TMG-HR-26N | REQUIRED: High-rejection antenna for GPS L1 lock. | 237
TRUE | LMR-240 Coax (50ft) | 1 | N(M) to BNC(M) | Low-loss antenna feed cable. | 80
TRUE | Mean Well 12V PSU | 1 | RCP-1000-12 (1U) | Clean DC source for USRP N310. | 320
TRUE | Mean Well 1U Shelf | 1 | RCP-1UI | Secure mounting for the DC supply. | 240
TRUE | Tripp-Lite 20A PDU | 1 | PDUMH20 (Metered) | Rack power distribution and monitoring. | 350
| SUBTOTAL SECTION 2 |  |  |  | 1227
3. Mounting/Housing
| Item | Qty | Model/Part # | Justification | Approx. Price
TRUE | 24U Deep Server Rack | 1 | APC AR3104 | 42" deep enclosure for GPU chassis. | 2029
TRUE | USRP N3xx Rack Kit | 1 | Ettus 786467-01 | Adapts half-wide N310 to 1U rack slot. | 610
TRUE | Keysight 2U Rack Kit | 1 | Keysight 1CM010A | Adapts MXG benchtop unit to rack rails. | 157 | Don't know if we need this
TRUE | M6 Rack Hardware | 1 | 50-Pack Cage Nuts | Essential fasteners for rack assembly. | 60
TRUE | Ventilated 2U Shelf | 1 | StarTech Cantilever | Utility space for tools and USRP B210. | 60
| SUBTOTAL SECTION 3 |  |  |  | 2916
4. Connectivity/Tools
| Item | Qty | Description | Justification | Approx. Price
TRUE | 30dB SMA Attenuators | 10 | Signal "Pads" | HARDWARE SAFETY: Prevents frontend damage. | 310 | Can
TRUE | SMA Torque Wrench | 1 | 8 in-lb Precision | Ensures perfectly seated RF connections. | 195
FALSE | 40G QSFP+ Active Optical Cable (3m) | 6 | ACTIVE Interconnect | Signal Integrity: Active links for zero-error IQ streaming. | 480 | Need to do more research to make sure this is exactly right
FALSE | BNC to SMA Timing | 6 | 3ft Shielded Coax | Distributes 10MHz/1PPS heartbeat. | 180 | Need to do more research to make sure this is exactly right
FALSE | SSMC to SMA Pigtails | 4 | 6" LMR-100 | Brings Sidekiq's internal ports to rack face. | 250 | Need to do more research to make sure this is exactly right
TRUE | Cat6a Shielded Patch | 10 | 1ft/3ft Management | Connects control/management network. | 100
FALSE | 10G SFP+ to RJ45 Transceiver | 1 | Switch-to-Workstation | Required to connect Workstation to Ruckus switch. | 65 | Need to do more research to make sure this is exactly right
| SUBTOTAL SECTION 4 |  |  |  | 1580
5. ESD?
6. Misc
| Item | Qty | Model/Part # | Justification | Approx. Price
TRUE | 2.2kVA Rack UPS | 1 | APC Smart-UPS SRT | Prevents corruption during power sags. | 2800
TRUE | NVMe Recording Tier | 2 | 16TB RAID-0 (Gen4) | Handles 1.6GB/s raw IQ ingest streams. Based on $1125/8TB. | 4500
TRUE | 1U Fan Tray | 1 | AC Infinity CLOUDPLATE | Thermal stability for sustained GPU loads. | 140
FALSE | IP-KVM Switch | 1 | Raritan Dominion KX III | Remote BIOS-level system control. | 4000 | A few other options ranging in price from $2k-$4k
TRUE | Rack Monitor | 1 | APC NetBotz 250 | Real-time temp/humidity health monitoring. | 850
TRUE | Spare Cables/Adapters/etc | 1 |  | Adapters, terminators, attenuators, cables, etc | 2000
| SUBTOTAL SECTION 6 |  |  |  | 14290
| Item | Qty | Model/Part # | Justification | Approx. Price
TRUE | Engineering Workstation | 1 | Dell Precision 7680 | Primary visualization/ML point (i9/64GB/RTX). | 5800 | Any high-end Laptop or Desktop should work
TRUE | 10GbE TB4 Adapter | 1 | OWC Thunderbolt 3/4 | High-BW data ingest for visualization. | 220
TRUE | Rugged Transit Case | 1 | Pelican 1535 Air | Protective housing for workstation. | 310 | Probably not necessary
| SUBTOTAL SECTION 7 |  |  |  | 6330
| Total |  |  |  | 293552
Optional/Redundancy/Upgrade
TRUE | Sidekiq X4 PDK Bundle | 1 | ES024-101 | Primary Ingest: Includes X4 card, TB3 chassis, FPGA carrier, and Dev Laptop. | 51544 | Quote #342624
TRUE | Sidekiq Maintenance | 1 | ES024-599-1 | Support: 1 additional year of maintenance/support (2 years total). | 4779 | Quote #342624
TRUE | USRP N310 | 1 | Ettus 785067-01 | High-Fidelity Sensor: 4-channel phase-coherent SDR. | 20826 | Would benefit from multiple N310s
TRUE | USRP B210 | 2 | Ettus B210 | Local Monitoring: Portable SDR for bench testing. | 1600 | Would benefit from multiple B210s
TRUE | Brandywine NFS220 | 1 | 95000001 | Grandmaster Clock: Ultra-stable 10MHz/1PPS. | 7500
86249

## GPU Server
Component | Specification / Rationale | Low-End / Minimum | Recommended | High-End / Max Performance
Chassis | Crystal Group RS378 3U Rugged Server Chassis, Power, and Cooling. | 15000 | 15000 | $18,000+
GPUs | 2x NVIDIA A40 (48GB GDDR6 ECC each). This is the core requirement. | 18000 | 22000 | 24000
CPUs | Dual Processor setup required for PCIe lanes. Performance scales with core count and clock speed. | 2x Intel Xeon Silver (8-12 cores each) | 2x Intel Xeon Gold (16-32 cores each) | 2x Intel Xeon Platinum (40+ cores each)
Price |  | 4000 | 10000 | $20,000+
Memory (RAM) | DDR5 ECC Registered RAM. More capacity allows larger datasets to be processed in-memory. | 256 GB (8x 32GB) | 512 GB (16x 32GB) | 1 TB (16x 64GB)
Price |  | 3500 | 7000 | 15000
Storage (OS) | RAID-1 Mirror of Enterprise NVMe M.2 SSDs for OS and application redundancy. | 2x 960GB | 2x 1.92TB | 2x 3.84TB
Price |  | 800 | 1500 | 2500
Storage (Cache) | RAID-0 Stripe of high-endurance Enterprise U.2 NVMe SSDs for IQ ingest and scratch space. | 2x 3.84TB (~7.6TB) | 2x 7.68TB (~15.3TB) | 4x 7.68TB (~30.7TB)
Price |  | 2500 | 5000 | 10000
Networking | High-speed NIC to handle data ingest from the SDRs and backplane switch. | Dual-Port 25GbE SFP28 | Dual-Port 100GbE QSFP28 | Dual-Port 200GbE QSFP56
Price |  | 800 | 2000 | 3500
--- | --- | --- | --- | ---
Total Estimated Component Cost (Per Server) |  | ~$44,600 | ~$62,500 | ~$93,000+